## Life cycle
2016 Prices are subject to change without notice
NOT PROVIDED BY WAUKESHA
Planned Service for Engine Model: 16V275GL Plus
Service | Part | Description | Quantity | Suggested User Price | Extended
Interval | Number |  |  | Each
4000 | 211665D | Kit, Admission Valve Repair | 16 | 300 | 4800
4000 | 296178 | O Ring Silicone | 16 | 1.5429 | 24.6857
4000 | 325195A | Centrifugal Filter Paper (1 of 25 pak) | 1 | 293.6143 | 293.6143
4000 | 69919D | Plug, Spark 13/16 Reach | 16 | 207.1429 | 3314.2857
4000 | 294093L | Spiral gasket | 4 | 33.3571 | 133.4286
4000 | 296105 | Wastegate butterfly bolt | 4 | 61.8 | 247.2
4000 | B4171C | Expansion plug | 2 | 7.7714 | 15.5429
4000 | 740011 | Boot, Spark Plug | 16 | 6.5143 | 104.2286
4000 | 209365 | Pad, Prefilter | 6 | 28.8429 | 173.0571
4000 | 209364 | Element, air filter | 6 | 407.1429 | 2442.8571
4000 | 199395B | Lube Oil Filter | 6 | 42.8571 | 257.1429
11806.0429
8000 | 209992K | O-Ring | 16 | 3.9429 | 63.0857
8000 | 211670C | O-Ring | 16 | 31.4286 | 502.8571
8000 | 292679 | O-Ring | 36 | 0.34286 | 12.3429
8000 | 295387A | O-Ring | 36 | 3.3857 | 121.8857
8000 | 295388A | O-Ring | 36 | 2.5571 | 92.0571
8000 | 295389C | O-Ring | 36 | 5.4286 | 195.4286
8000 | A740127 | Sensor, Nox Asm | 1 | 3511.4286 | 3511.4286
8000 | 295602E | Connector, Prechamber Supply | 16 | 130.6429 | 2090.2857
8000 | 295828 | Washer, Pre-Chamber | 16 | 3 | 48
8000 | 295828C | Washer, Ignitor Sleeve | 16 | 1.6571 | 26.5143
8000 | 295478C | Prechamber cup | 16 | 108.9857 | 1743.7714
8000 | 325197A | Centrifugal Filter Seal Kit | 1 | 206.4714 | 206.4714
8614.1286
16000 | 290230A | Gasket, Valve Cover | 16 | 15.8 | 252.8
16000 | 292843 | O-Ring, Ignition Coil, AT | 16 | 0.91429 | 14.6286
16000 | A296064J | Extension Asm. | 16 | 222.1857 | 3554.9714
16000 | 493705 | Diaphragm, Repair Fisher 95L 167148N | 1 | 105.8714 | 105.8714
16000 | 490099 | Kit, Repair Fisher 1098 295491C | 1 | 747.1 | 747.1
16000 | STARTER15 | Starter Motor, Turbine, AT-12V 293435J | 2 |  | 0
4675.3714
24000 | 294093X | Gasket, Inlet elbow | 2 | 87.1429 | 174.2857
24000 | 296318 | O-ring | 2 | 30.9 | 61.8
24000 | 3337273 | O-ring | 2 | 26 | 52
24000 | 291617 | Washer copper | 2 | 6.6429 | 13.2857
24000 | 296244C | Gasket, Intercooler / turbo | 2 | 32.3143 | 64.6286
24000 | 296318 | O-ring | 2 | 30.9 | 61.8
24000 | TURBO11 | Turbo Parts, 16V 296627H | 2
427.8
48000 | TURBO12 | Turbo Rebuild, 16V 296627H | 2
36,000 Hour Top End Overhaul for Engine Model: 16V275GL Plus
| Part | Description | Quantity | Suggested User Price | Extended
| Number |  |  | Each
36000 | A296140H | Housing asm., butterfly valve, 3 in. | 1 | 2555.0714 | 2555.0714
36000 | C296140H | Housing asm., butterfly valve, 3 in. | 1 | 2192.8571 | 2192.8571
36000 | G-960-304 | Pump, kit HE280060A | 1 | 3744.1857 | 3744.1857
36000 | G-960-306 | Pump, kit, J.W. JA280060A | 1 | 4238.5714 | 4238.5714
36000 | G-979-295 | Gskt, Valve Ovrhl | 1 | 6122.2 | 6122.2
36000 | G-936-1031 | Valve O/H KIT, | 16 | 3057.1429 | 48914.2857
| Total Parts Cost: |  |  |  | 67767.1714
72,000 Hour Bottom End Overhaul for Engine Model: 16V275GL Plus
| Part | Description | Quantity | Suggested User Price | Extended
| Number |  |  | Each
72000 | 153610 | Seal, Thermostat | 4 | 7.5714 | 30.2857
72000 | 209992G | O-Ring | 4 | 4.3714 | 17.4857
72000 | 211887 | Thermostat 160 F | 4 | 42.5 | 170
72000 | 280008 | Bearing, Piston Pin AT | 16 | 499.0714 | 7985.1429
72000 | 280029B | Bearing, Idler Gear | 6 | 454.3 | 2725.8
72000 | 287000 | Ring, Cyl. Head Sealing, AT27 | 16 | 43.5 | 696
72000 | 287230C | Liner, Cylinder | 16 | 3190.1571 | 51042.5143
72000 | 287304 | Piston, 9:1 AT27 | 16 | 7114.7 | 113835.2
72000 | 290216A | Sleeve, Water Guide AT27 | 64 | 36.0714 | 2308.5714
72000 | 290221C | O-ring, Water Guide Sleeve | 128 | 2.1429 | 274.2857
72000 | 290292 | Rocker Arm Tappet Ball | 36 | 50.1571 | 1805.6571
72000 | 290294A | Ball, Cap | 48 | 57.5286 | 2761.3714
72000 | 290295A | Rocker Arm Cap Ball | 24 | 45.7286 | 1097.4857
72000 | 290298 | Rocker Arm Ball Adj. Screw | 48 | 39.8286 | 1911.7714
72000 | 290347 | Ring, Piston Pin Retaining, AT | 36 | 5.7857 | 208.2857
72000 | 290371C | Roller, Rocker Arm | 36 | 80.6714 | 2904.1714
72000 | 290372B | Bearing, Cam Rocker Arm | 36 | 99.2429 | 3572.7429
72000 | 291140B | Damper, Vibration 12V275 | 1 | 25949.5857 | 25949.5857
72000 | 295827B | O-Ring, Cyl Liner AT27 (2&3) | 36 | 164.2857 | 5914.2857
72000 | 295827C | O-Ring, Cyl. Liner AT27 (1) | 16 | 98.5714 | 1577.1429
72000 | 296582 | GASKET | 1 | 83.6857 | 83.6857
72000 | 305169S | ROD END, M8 RH | 1 | 71.6571 | 71.6571
72000 | 305169T | ROD END, M8 LH | 1 | 86.5857 | 86.5857
72000 | 305169W | Rod End, M12 RH | 4 | 95.5429 | 382.1714
72000 | 305169X | Rod End, M12 LH | 2 | 92.2571 | 184.5143
72000 | 489056 | Kit, Thermostat Repair Aux AT 8 | 1 | 432.6857 | 432.6857
72000 | G-900-1061 | Overhaul Gasket, 16V275 | 1 | 16881.3 | 16881.3
72000 | G-907-237 | Sgl. Piston Rings, AT27 | 16 | 548.2714 | 8772.3429
72000 | G-918-346 | Main Bearing, AT V16 | 1 | 9456.6714 | 9456.6714
72000 | A280110S | Bearing, Conn. Rod | 16 | 725.7143 | 11611.4286
72000 | A287006A | Asm., Piston Pin AT27 | 16 | 2961.8 | 47388.8
72000 | A290373C | Shaft, Rocker Arm Roller | 36 | 140 | 5040
72000 | CAM14 | Camshaft, Segment AT | 16 | 0 | 0
72000 | CRANK15 | Crankshaft, AT-12V | 1 | 0 | 0
72000 | G-903-167 | Thermostat, Kit | 1 | 614.3857 | 614.3857
72000 | G-980-170 | Oil Pump Repair, AT 16V GL HA280080A | 1 | 10538.5714 | 10538.5714
72000 | ROD15 | Conn Rod, AT-12V A280107K | 16
| Total Parts Cost: |  |  |  | 338332.5857
Emergency Spare Parts
| Part | Description | Quantity | Suggested User Price | Extended
| Number |  |  | Each
| 209992K | O-Ring | 2 | 3.9429 | 7.8857
| 211665D | Kit, Admission Valve Repair | 2 | 300 | 600
| 211670C | O-Ring | 2 | 31.4286 | 62.8571
| 214046B | Actuator, Bypass | 1 | 8142.8571 | 8142.8571
| 287000 | Ring, Cyl. Head Sealing, AT27 | 1 | 43.5 | 43.5
| 287230C | Liner, Cylinder | 1 | 3190.1571 | 3190.1571
| 287304 | Piston, 9:1 AT27 | 1 | 7114.7 | 7114.7
| 290221C | O-ring, Water Guide Sleeve | 8 | 2.1429 | 17.1429
| 290347 | Ring, Piston Pin Retaining, AT | 2 | 5.7857 | 11.5714
| 292679 | O-Ring | 4 | 0.34286 | 1.3714
| 292843 | O-Ring, Ignition Coil, AT | 6 | 0.91429 | 5.4857
| 295387A | O-Ring | 4 | 3.3857 | 13.5429
| 295388A | O-Ring | 4 | 2.5571 | 10.2286
| 295389C | O-Ring | 4 | 5.4286 | 21.7143
| 295602E | Connector, Prechamber Supply | 2 | 130.6429 | 261.2857
| 295827B | O-Ring, Cyl Liner AT27 (2&3) | 2 | 164.2857 | 328.5714
| 295827C | O-Ring, Cyl. Liner AT27 (1) | 1 | 98.5714 | 98.5714
| 295828 | Washer, Pre-Chamber | 2 | 3 | 6
| 295828C | Washer, Ignitor Sleeve | 2 | 1.6571 | 3.3143
| 295844E | Magnetic Pickup | 1 | 254.5857 | 254.5857
| 296515 | Actuator, Throttle & Wastegate | 2 | 19124.8571 | 38249.7143
| 69957 | Ignition Coil Flange Mount W/Lead | 4 | 461.9143 | 1847.6571
| A740124 | Transducer asm. Press, Intake mfl | 1 | 629.7714 | 629.7714
| 740822B | Module-Diag,IGN PWR(IPM-D) | 1 | 3544.2857 | 3544.2857
| A740118 | Transducer, Pressure, Oil | 1 | 571.2 | 571.2
| A740120 | Thermistor, oil, water, intake | 1 | 363.1429 | 363.1429
| 740825 | ECU | 1 | 11287.1429 | 11287.1429
| G-907-237 | Sgl. Piston Rings, AT27 | 1 | 548.2714 | 548.2714
| G-977-65 | Gasket, Sgl. Hd., AT27GL | 1 | 382.6429 | 382.6429
| A287006A | ASM, PISTON PIN AT27 | 1 | 2961.8 | 2961.8
| A296064J | Extension Asm. | 2 | 222.1857 | 444.3714
| A740127 | Module, NOx | 1 | 3511.4286 | 3511.4286
| AC740502B | Actuator assy. Gas regulator | 1 | 9437.1429 | 9437.1429
| AD287002A | Head Asm., Cyl. | 1 | 11120 | 11120
| 493705 | Kit, Repair Fisher 95L 167148N | 1 | 105.8714 | 105.8714
| 490099 | Kit, Repair Fisher 1098 295491C | 1 | 747.1 | 747.1
| G-936-1031 | Valve O/H Kit, ATGL | 1 | 3057.1429 | 3057.1429
| G-960-304 | Pump, Kit | 1 | 3744.1857 | 3744.1857
| G-960-306 | Pump, Kit JW | 1 | 4238.5714 | 4238.5714
| A296078K | Butterfly Valve Asm, 3 in LB | 1 | 7828.6857 | 7828.6857
| C296078K | Butterfly Valve Asm, 3 in RB | 1 | 8141.4143 | 8141.4143
| Total Cost: |  |  |  | 132956.8857

## Tools
2016 Pricing in US $s and subject to change without notice
Part Number | Description | Suggested User Price
473044 | Hand Tool Kit | 13062.8
292630 | Cylinder Head Lifting Eye | 266.1857
292779 | Connecting Rod Guide Pin | 136.2857
292583 | Valve Seat Insert Installation Tool | 823.5143
A292511 | Water Guide Sleeve Disassembly Tool | 341.6
A292539 | Hydraulic Pump Kit | 3285.7143
473016 | Prechamber Remover Kit | 3484.2
473022 | Small Collet with Ext. Tube 1-1/4 – 1-1/2 in. | 314.2857
473032 | Small Collet, 1-1/4 – 1-1/2 in. | 230.1571
473024 | Expanding Rod for Collets | 90.6
473025 | Hydraulic Ram Adapter | 459.6143
473026 | Yoke | 437.9857
473027 | Hydraulic Ram – 20 Ton | 1757.7286
473028 | Coupler for Ram | 101.4286
A295137 | Main Bearing Turning Device | 794.7857
A292587 | Main Bearing Turning Device | 770.2714
A295138 | Thrust Bearing Turning Device | 987.8
A292591 | Thrust Bearing Turning Device | 973.9429
A292669 | Valve Seat Insert Removing Tool | 1500.7143
A292683 | Crankshaft Deflection Gauge | 1270.8286
A292696A | Connecting Rod Bearing Installation Tool | 1020.8571
A292704 | Connecting Rod Hydraulic Jacks (Set of 2) | 4977.3
A292804 | Camshaft Mounting Device | 1590.6
A292848 | Pump Gear Disassembly Tool | 785.1429
AA292579 | Spring Compressor | 374.9286
473002 | Sleeve Puller/Installer | 2447.3143
AA292699 | Connecting Rod Bushing Removing Tool | 1184.0286
AA293268 | Cylinder Head Hydraulic Mounting Fixture | 14707.4143
AA295135 | Main Bearing Cap Lifting Device | 976.2857
473001 | Piston, Connecting Rod Lifting Device | 418.3286
473017 | Ring Compressor | 1382.5286
473018 | Piston Ring Expander | 1584.0286
296492 | Anti-Polishing Ring Removal Tool | 381.5143
472996 | Compression Tester Adapter | 245.4429
473005 | Gear Backlash Adjustment Tool | 150.5429
473010 | Stud Installer | 369.7
494448 | Valve Guide Pilot | 998.5714
494487 | Seat Grinding Stone | 98.5714
494498 | Piston Pin Retaining Clip Plier | 197.3857
473033 | Camshaft Gear Adjusting Tool | 236.3286
473034 | Camshaft Gear Pump Kit | 4962.2571
472082 | Turbocharger Water Connection Wrench | 286.5714
70466.0857

## Commissioning Spares
Engine Model: 16V275GL Plus
Part Number | Description | Quantity | User Price(USD)
|  |  | Each | Extended
199395B | Lube Oil Filter | 6 | 42.8571 | 257.1429
69919D | Plug, Spark 13/16 Reach | 2 | 207.1429 | 414.2857
211665D | Kit, Admission Valve Repair | 2 | 300 | 600
325197A | Centrifugal Filter Seal Kit | 1 | 206.4714 | 206.4714
Start up spare parts Total Cost: |  |  |  | 1477.9